## HPP1
Highland Pine Products Pty Ltd, Gate 3, Albion St, Oberon NSW, 2787 - EPL# 887
Link to EPA Public Registers https://www.epa.nsw.gov.au/licensing-and-regulation/public-registers
EPA ID 1 - Surface Water Discharge point.
|  |  | Biochemical Oxygen Demand (mg/L) |  |  | Filterable Iron (mg/L) |  |  | Methylene Blue Active Substances (mg/L) |  |  | Nitrate + Nitrite (oxidised nitrogen( (mg/L) |  |  | Oil & Grease (mg/L) |  |  | pH | Total Iron (mg/L) |  |  | Total Suspended Solids (mg/L) |  |  | Turbidity (nephelometric turbidity units) |  |  | Relevant observations and reasons for data correction. | Corrected Data | Date Corrected
|  |  | Limit 20 mg/L |  |  | No Limit |  |  | No Limit |  |  | No Limit |  |  | Limit 10 mg/L |  |  | Limit 6.5-8.5 |  | No Limit |  | Limit 30 mg/L |  |  | No Limit
Sample Date (results) | Date Sample Obtained | Date Published. | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Result | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value
Where no data has been published for a particular month it indicates the level of pollutant was below the level of detection or there was no discharge for that month
|  | 2022-05-02 | **See notes** | [24 empty] | 02/05/22 - No new data to report. Diversion of flow still in place.
|  | 2022-04-02 | **See notes** | [24 empty] | 02/04/22 - No new data to report. Diversion of flow still in place.
|  | 2022-03-02 | **See notes** | [24 empty] | 02/03/22 - No new data to report. Diversion of flow still in place.
|  | 2022-02-02 | **See notes** | [24 empty] | 02/02/22 - No new data to report. Diversion of flow still in place.
|  | 2021-12-09 | **See notes** | [24 empty] | 09/12/21 - No new data to report. Diversion of flow still in place.
|  | 2021-09-13 | **See notes** | [24 empty] | 13/09/21 - No new data to report. Diversion of flow still in place.
|  | 2021-01-20 | **See notes** | [24 empty] | 20/01/21 - No new data to report. Diversion of flow still in place.
13/8/20 Sheet reviewed and updated.
Water has been diverted away from EPA ID 1 therefore no discharge at this point is expected in the foreseeable future.